Automatic engine RPM control circuit description

Since the speed (RPM) of ALL Internal Combustion Engines (ICE) are governed ONLY by the volume of fuel they receive (in this case, HydrOxy), their RPM can be accurately controlled with electronic fuel injection.

Note that when an engine is powering a generator, its RPM determines the generator’s output voltage AND frequency.

It should be obvious that in order to keep the output voltage and frequency constant, the engine needs to be turning at a CONSTANT speed.  (actual RPM depending on design)

I have conceived the following concept of how to bring the engine speed from idle to the required RPM automatically.

I have developed the theory of the set-up, sequence of events, choice of components and their practical implementation.

I have then set up the circuit on a ‘bread board’, de-bugged and fine tuned it.

Note that the circuit section which brings the engine speed from idle to the correct RPM automatically is an OPEN loop system!

It CAN NOT correct changes in output voltage & frequency due to load changes!

That is done by a dedicated feed-back loop circuit which is also incorporated.

Principle of operation:

Unlike car engines, generators are NOT required to respond to quick throttle changes.

Suppose the engine is required to run at 3600 RPM (30Hz) to produce the correct voltage & frequency, considering the minimum response time 250ms/Hz, it would take 7.5s to reach 3600 RPM from the first firing.

So, we can choose to reach the required RPM in say, 10 seconds.  (or more)

After powering up all the electronics, the VCT (Voltage Controlled Timer) produces a minimum timing period which represents engine idle.

Engine speed is increased by gradually increasing the injection solenoid’s ON time.

To do this automatically, a VCT (mentioned above) is required.

A linear voltage slope is created by a constant current source charging a capacitor.

This slowly increasing voltage is used to control the VCT and thus the RPM.

To start this process, an unmistakable “engine has started” signal is needed.

The most “unmistakable” signal is the VERY loud noise of the ‘explosions’ created by an internal combustion engine (ICE).

To eliminate ‘false’ starts, two explosions are detected within a certain time frame

(say 2 seconds).

The sound amplifier & 2 timers trigger an R-S flip-flop (F/F) which SET the latch, activating the creation of the VCT control voltage slope.

A sample of the output voltage from the engine/generator is fed to a frequency switch.

When the generator’s output frequency reaches 50 Hz (at approx. 240V), this frequency switch operates a SET-RESET (S-R) flip-flop (F/F), activates the Hold function and

‘saves’ the control voltage.

After a short delay it erases the voltage slope which has created it.

The circuit is thus ready for another “start engine” cycle.

The ‘saved’ voltage is switched OUT and a feed back loop switched IN to maintain constant output frequency despite load changes on the generator’s output.

Sequence of events in more detail:

After the circuit is powered up, the VCT (Voltage Controlled Timer, IC7-C555), which determines the injection solenoid’s ON time, runs on its minimum time constant.

The minimum value of the control voltage range (at pin 5) is chosen to be less than the required level for idling.  (about 0.5 – 0.7 ms)

To enable idle adjustment for different types of engines, an adjustable voltage is ADDED to this minimum by IC10D (LM324)

A properly set up C555 makes a perfect VCT!  It is also very simple and cheap to boot!

It has, however, specific trigger requirements for this purpose.

In order to achieve the widest possible control voltage range, the negative going trigger pulses (to pin 2) must go close to 0V.

[That is because whatever the voltage on the control pin is, the 1/3 and 2/3 ratio of the trigger (pin 2) and threshold (pin 6) is ALWAYS maintained!]

Further, the width of the trigger pulses should be much shorter than the basic R-C time constant of the C555’s output pulse.

In other words, for this application, the trigger pulses need to be:

short, negative going (from the +12V rail) to very close to 0V.  (Ground)

The Q-bar outputs of the 4538 dual monostable (pins 7 & 9) supply just such pulses!

The monostable IC8B (4538) on the ign/inj. board which was used for manual injection drive can now be used with a MUCH shorter time constant to create narrow , negative going trigger pulses for the VCT. (IC7- C555)

These pulses are taken from the normally HIGH Q-bar output (pin 9).

Repeat:

The timing range needed for the injection solenoid (to go from start to the required RPM) is supplied by this VCT.

It is calculated to be about 1 – 8.33ms for 3600 RPM, or 1 – 10ms for 3000 RPM.

A sound operated switch detects if the engine has started, by detecting the VERY loud sounds of the first two (2) ‘explosions’.

Its second output pulse SETs the RS F/F (IC4A-4013).

Its Q output (pin 1) goes HIGH which turns ON transistor switch Q4 (BC547) and turns transistor Q3 (2N7000) OFF.

The role of Q3 is to allow charge or discharge of capacitor C25 (1uF).

The F/F’s output thus switches HIGH which is inverted to LOW by Q4.

This LOW turns the clamp transistor Q3 OFF.

Now the capacitor is allowed to charge and a linear voltage ramp is generated.

Once again:  at power-up, F/F IC4A (4013) is RESET.

Its output is LOW.

This is inverted by transistor Q4 to HIGH.

This turns ON the clamp transistor Q3 which acts as a short across the capacitor.

In this condition, (when its control voltage on pin 5 is between 0 – 0.25V)

the VCT produces minimum pulse width.

To obtain the correct idle timing for a particular engine type, an adjustable ‘offset’ voltage is added.

To minimize/avoid false triggering by spurious noise (other than the engine ‘firing’ sound), the sensitivity of the microphone amplifier is heavily reduced.

Further, the sound operated switch uses two (2) timers.  (555)

TIMER 1 triggers on the first ‘firing’ of the engine and supplies TIMER 2 with power.

If a second ‘firing’ occurs within the set time constant of  TIMER 1, it triggers TIMER 2.

The short output pulse from TIMER 2 is the valid trigger which SET the F/F and starts the voltage sweep.  (linear ramp)

While the trigger pulse from the microphone amplifier is connected to both timers,

only TIMER 1 will trigger on the first ‘firing’ sound since TIMER 2 has no power yet.

When the second ‘firing’ signal arrives within the set time constant of  TIMER 1,

TIMER 2 will trigger because TIMER 1’s output is now supplying power to it.

To prevent TIMER 2 from triggering as power is applied to it, the RESET (pin 4) has a short delay.

This delay can be timed to prevent TIMER 2 from triggering for a desired period.

In other words:

Should a second ‘firing’ of the engine (or some other unexpected loud noise) occur earlier than it should, the circuit will not produce an output pulse.

Thus, voltage sweep can NOT start and the engine remains at idle.

With Q4 ON and Q3 OFF, C25 is allowed to receive charge from the constant current source comprising of Q2 (BC327), D3 (4148), R39 (3k3), R40 (100k) and P5 (1M).

(Required time constant is adjusted by P5)

IC10B buffers the voltage on C25 and IC10C inverts it (gain of -1) before it is fed to voltage ADDER IC10D.

The charging time constant of the linear ramp is set to the desired maximum time for the engine RPM to reach its operating point where it delivers 50Hz at approx. 240V.

The ramp voltage at that instant is saved by the T/H, just before the frequency operated switch erases the ramp by RESETing the F/F.  (which in turn discharges the capacitor)

The increasing voltage slope output of IC10D is fed to the input (pin 3) of S/H IC6 (LF398) and the output of IC6 (pin 5) is connected to the control pin (5) of the VCT (IC7-C555), through electronic switch IC12A (“a” – “ax’) and buffer IC10A (LM324).

It is this voltage which determines the time constant of the VCT, the injection solenoid’s ON time and thus engine RPM.

In this configuration, Sample & Hold (IC6-LM398) is used as Track & Hold.

(Using the LM398 S/H as a T/H is only a matter of  control logic timing.)

As the voltage slope is gradually increasing towards the correct value for the required RPM, IC6 is in the Tracking (Sample) mode.

That requires a HIGH on ‘Logic in’ (pin 8).

This HIGH is supplied by the Q output (pin 13) of IC4B (4013) which was SET  (pin 8) by C6 (0.1uF) and R12 (1M) at power-up.

Since the logic control must be HIGH for Sample and LOW for Hold, the T/H needs to “sample” continuously (i.e. track), the logic control voltage must be held HIGH while “tracking” and LOW for Hold.

This condition (Tracking or Sample mode) is maintained until the generator’s output frequency has reached 50 Hz and the voltage is approx. 240V.

This is the correct RPM for the engine.

It is the control voltage at this instant which is saved and then held by the feed back loop.

From this point on, the injection solenoid will stay open always for the same length of time, (provided that there are NO load changes) holding the engine speed constant.

The command for this action is delivered by frequency switch IC2 (LM2907-N8).

The linearly increasing voltage ramp is stopped when the output frequency of the generator has reached 50Hz.

Transformer TR2 (240V/6V) reduces the generator’s output amplitude to a suitable level which is fed to the input (pin 1) of  ‘frequency switch’ IC2 (LM2907N-8).

A further 11:1 reduction of the signal level (amplitude) is done by R4 (100k) and R5 (10k).

C1 (0.1u) is an AC coupling capacitor (blocking DC) and R1 (10k) is holding the input side of C1 at 0V (DC) potential.  (These components are essential for correct operation.)

Switching frequency is adjusted by P1 (1M).

Hysteresis is provided by resistor R8 (10k).

Switching point is indicated by LED1 (R).

R3 (3k3) is a pull-up resistor for the comparator’s output in IC2 (LM2907N-8).

(Without it, the LED glows faintly even without a frequency input!)

P7 (10k) sets the switching voltage level for the comparator in the frequency switch IC2.

P7 is adjusted FIRST to match the control voltage of the VCT for the desired RPM of the generator used.

Then, the “switching frequency” is adjusted by P1 to match.  (to ‘trip’)

The “stop pulse” from the ‘frequency switch’ also operates the T/H.

Since the output of IC2 (pin 5) is latching at this point, a one-shot (IC3D-4093) is required to supply only a single pulse to RESET R-S F/F IC4B (4013) AND trigger

monostable IC5A.

The Q output (pin 13) of F/F IC4B is now LOW.

This LOW, through attenuating resistors R14 (3k3) and R15 (1k) to the Logic input

(pin 8), puts S-H IC6 (LF398) in the HOLD mode.

At the same time (as mentioned above), monostable IC5A is also triggered on the rising edge input A (pin 4).

Its pulse output time constant is set by R15 (10k) and C8 (4n7) to 47µs.

This output pulse is connected to the falling edge input B (pin 11) of  IC5B.

So, at the end of the pulse from IC5A, IC5B is triggered and its pulse time constant is set by R16 (10k) and C9 (10n) to 100µs.

This is the pulse (from pin 10) which RESET R-S latch (F/F) IC4A (through D2).

After RESET, IC4A’s output is LOW which cuts OFF Q4 and turns ON Q3.

Q3 (when turned ON) represents a short across capacitor C25 and thus erases the voltage slope previously created.

(Note, however, that before that occurs, the needed voltage has already been saved by putting S-H IC6 in the HOLD mode)

So, once again, the role of IC5A & B is to create the necessary delay between saving the wanted voltage and then erasing the slope.

The circuit is now ready for an other “start engine” process.

VCO for testing the servo loop (generator output/automatic setting of RPM):

The VCO section of a 4046 PLL (IC13) is used for this function.

First, the generator/engine RPM (where it produces the correct voltage and frequency-for example 240V/50Hz) must be determined.

(This will depend on design/type/size/model/manufacturer, etc.)

From this RPM, the fuel intake time is calculated as follows:

RPM (crank shaft) divided by two (2) to get engine work cycles in minutes.

Divide this by 60 to get ‘work cycles’ per second.

Now take the reciprocal (1/xx) of this number which is TIME (in seconds) for one (1) work cycle.

Divide this number by 4 since the engine’s fuel intake lasts for only ¼ of the work cycle.

This is the max. time the fuel intake valve is open.

Example:

3000 RPM : 2 = 1500 ‘work cycles’ (per minute).

1500 : 60 = 25 ‘work cycles’ (injections/ignition pulses) per second.

Reciprocal of 25, (1 : 25 = 0.04) seconds for each ‘work cycle’ (40 ms)

0.04 : 4 = 0.01 seconds (10 ms) maximum fuel intake valve opening time.

The next step is to set the VCT control voltage to produce the required injection pulse duration.

For the example above, the control voltage needs to be 6.5V (approx.) to deliver 10 ms injector ON time.

Note that the VCT in this design, with the timing component values shown on the circuit diagram (C27 – 3n3, R50 – 3M9) produces the following pulse widths/control voltages:

1 ms/~0.8V

8.33 ms/~5.7V

10 ms/~6.5V

15 ms/~8.3V

20 ms/~9.5V

Thus, this circuit can also be used for a low RPM (1500) engine/generator by supplying the VCT with a  9.5V control voltage to deliver 20 ms wide injection pulses.

OK.

So how do we set the control voltage range for the required RPM?

By adjusting the ‘trip point’ of the comparator in IC2, using P7 (10k).

Then, adjust P2 so the VCO’s output frequency is 50Hz with the desired control voltage applied to pin 9 (TP8).

The VCO’s output (pins 3+4) is connected to the ‘AC input’ of frequency switch IC2 (LM2907-N8) and its Voltage Control input (pin 9) is connected to the VCT’s control voltage (pin 5 of IC7-C555).

With C13-1µF, R19-2M2 and P2-50k (approx. 36k), we get 8V control voltage for 50Hz.

The role of test (service) LEDs are as follows:

LED 1 is normally OFF.

Frequency switch IC2 (LM2907-N8) turns it ON when the generator output frequency has reached 50Hz.

It remains ON as long as the frequency is about 50Hz.

It turns OFF if the frequency falls a certain amount (Hysteresis) below 50Hz.

LED 2 indicates the state of S/R-F/F IC4B.

Since this F/F is SET at power-up, LED 2 will be ON.

Frequency switch IC2 turns it OFF when the 50Hz limit is reached.

LED 3 indicates the LOUD sounds of the engine firings.

It comes ON momentarily at system power up, then it is OFF.

Once the engine has started, it will stay ON as long as the engine is running.

So, LED 1 is OFF and LED 2 is ON after power-up.

As the 50Hz limit is reached, LED 1 turns ON and LED 2 turns OFF but note that during normal operation they are never on at the same time!

LED 4 indicates the state of R/S-F/F IC4A.

It is OFF after power-up since IC4A is RESET.

Since IC4A is repeatedly SET by the sound timer IC9, LED 4 stays ON.

It turns OFF when power is removed and then re-applied (power-up).

Note that when IC4A is repeatedly SET, it removes the short across capacitor C25.

This allows it to be charged by the constant current source and the voltage slope is created once again.

However, this no longer matters as the wanted control voltage has been previously saved and a short has been placed across the HOLD capacitor.

Method of holding the RPM constant with varying load:

Suppose the correct RPM (for a 50Hz output frequency) was reached with only a light load (or no load) on the generator’s output.

Logically, it can be assumed that when load is applied (or increased), the engine should require more fuel to maintain the same RPM.

Since the VCT controls the injection solenoid’s timing, its control voltage must be increased by the feed-back loop to adjust the solenoid timing to maintain the 50Hz frequency output.

(If the load is reduced, solenoid opening time must be reduced.)

However, the initial fixed timing output generated (and saved) by the auto-RPM circuit for the correct speed is to be used as a ‘reference’ and a correction voltage added to or subtracted from it.

A Frequency-to-Voltage (F/V) converter, as the name implies, generates a frequency dependent voltage.

Adding a comparator to the F/V converter creates a frequency switch as well.

In the frequency switch (IC2 – LM2907-N8) a frequency dependent voltage is also available at pin 3.

To avoid loading this voltage (which represents the frequency) it needs to be buffered.

This is the control voltage to the VCO (IC13-4046).

If, due to increased load the engine slows down, the generator’s output FREQUENCY goes down.  So does the output voltage of the F/V converter.

To bring the output frequency up to the correct point again, the engine needs more fuel which means longer opening time for the solenoid.

If the load is reduced, the engine will speed up, the generator’s output frequency goes up.

To bring it down to the correct level, the engine needs less fuel.

In other words:  the feed-back needs to act in opposite direction.

Increased load – decrease in frequency = need to increase solenoid ON-time.

Feedback loop:

In order to develop/design a feedback loop, the engine’s function needed to be temporarily substituted with a circuit who’s frequency can be altered.

Since the test VCO (4046) in this circuit is already voltage controlled, to change its frequency, (without altering its present control voltage) the R-C time constant of the oscillator must be altered.

When altering its frequency this way, the change in its control voltage can be observed.

The voltage from the F/V converter (IC2- pin 3) is filtered by capacitor C4.

By reducing its previous value from 1uF to 0.1uf, a LARGE ripple is produced.

However, using a capacitance multiplier (IC1B), a 10x decrease in response time is gained as this stage has a gain of 1000 but a capacitance value of only 4n7 (C30).

It eliminates  the ripple, without affecting response time!

This (now ripple free) voltage is fed to the inverting (-) input (pin 6) of error amplifier IC11B.  The non-inverting (+) input (pin 5) has an adjustable voltage divider which sets the reference point for the loop.

It is adjusted to be the same as the VCT’s control voltage for 50Hz.

During the time the auto RPM circuit is slowly bringing the RPM to the correct point, the error amplifier is also operating but its output is not used yet.

As soon as the correct RPM is reached, the ‘saved’ voltage is switched OUT and the output of the feedback amplifier is switched IN and is now used as the control voltage for the VCT!

Change-over switch ‘A’ is used to first CONNECT the voltage control line [control pin (5) of the VCT & VCO (pin 9)] to the output of the S/H (pin 5-IC6), then DISCONNECT and CONNECT the voltage control line to the output of the ‘error amplifier’ IC11B instead.

The ‘common’ (“a”) of switch ‘A’ (pin 14 of IC12A – 4053) is connected, through buffer IC10A, to the control pin (5) of the VCT (IC7-C555) AND the voltage control input (pin 9) of the “50Hz test VCO”.  (IC13-4046).

“ax” (pin 12) is connected to the output (pin 5) of S/H-IC6-LF398.

“ay” (pin 13) is connected to the output (pin 7) of  ‘error amplifier’ IC11B (LM358).

When the logic control for ‘A’ is LOW, “a” is connected to “ax”.

[Output (pin 5) of S/H (IC6) is connected to the control (pin 5) of the VCT (IC7) AND voltage control pin 9 of the VCO (IC13)]

When the logic control for ‘A’ is HIGH, “a” is connected to “ay”.

[The voltage control line (VCT & VCO) is connected to the output of ‘error amplifier’ IC11B.]

Further, IC12C is used to put a short circuit between the capacitor terminal (pin 6) and 0V (Ground), preventing the charge on the Hold capacitor to obtain a negative voltage value!

[Note that this circuit requires a dual (±12V) power supply.]

After a short delay of at least 1ms, [created by R26 (1M) and C16 (0.1u)], logic HIGH is also applied to switch ‘C’.

This delay is necessary to allow time for the transfer to take place, before placing the discharging switch ‘C’ across the Hold capacitor.

[“c” (pin 4) is connected to Ground (0V) and “cy” (pin 3) is connected to the Hold capacitor terminal (pin 6) of  S/H (IC6)]

Note that the output impedance of the S/H amplifier is very low (less than 4 ohms) but the ON resistance of the switch is typically about 100 ohms (at Vdd = 12V).

The overall impedance of this point is still very low so it is extremely unlikely to pick up interference.

In other words:

With logic HIGH applied to both switches (IC12A & C), the output of S/H-IC6 is disconnected from the control pin of the VCT and connected to the output of ‘error amplifier’ IC11B instead.

Now, the control voltage to the VCT is supplied by the feed back loop.

The output of  voltage follower (buffer) IC10A is LOW impedance which drives the Control Voltage pin of the VCT (IC7 – C555).

Note also that the output of the S/H will gradually diminish due to “droop” and eventually becomes 0V.  (‘Hold’ capacitor completely discharged)

However, the LF398 Sample & Hold IC, in the HOLD mode, has a nasty habit of discharging the Hold capacitor not only to 0V but continue down to about -10.76V!!!

In this application, this action plays HAVOC with the circuits that follow!

The remedy is put a short (switch IC12C) across the Hold capacitor just after the ‘saved’ value has been transferred to the feed back loop.

After system power-up, the electronic switches (IC12A & C) controlling the transfer of the saved control voltage, need logic LOW.

To hold switch ‘A’ LOW at power up, R25 (100k) is connected to Ground.

[C (pin 9) is also connected to Ground through R26 (1M) and R25 (100k)]

However, the turn-ON (by F/F – IC3A & B latching bistable, through D1) of IC12C needs to be delayed relative to ‘A’ to allow sufficient time for the ‘transfer’ of the control voltage to take place.

This is achieved by using a simple RC network of C16 (0.1u) and resistor R26 (1M).

When the engine is running and has reached the correct RPM, a momentary (100µs) pulse is supplied by IC5B to reset R/S latch IC4A (which erases the voltage ramp).

After this action, control switches IC12A & C need continuous logic HIGH as long as the engine is running!

To create a continuous logic HIGH from a single pulse, a latching bistable (F/F) is needed.

IC3 (4093) is a quad, 2 input NAND Schmitt trigger.

IC3D is used as a ‘one shot’ to trigger IC4B and IC5A.

(IC3C is not used)

IC3A & B form a latching bistable (F/F).

Power-on RESET (falling edge) is done by R20 (1M) and C14 (0.1µF) and is SET

by also a falling edge pulse from IC5B’ Q output (pin 9) which is normally HIGH.

Output of the latch is taken from pins 3 & 6 and through D1 (4148) is connected to the

logic control pins of electronic switches IC12A,B,C.

Finally, perhaps I should mention that the “autorpm” is necessary for yet another reason:

Since the electrolyzer’s power supply is set for MAXIMUM power, the generator’s engine may not require all the gas continuously.

Therefore, the pressure regulator will cut power OFF when the set pressure is reached, turning it ON again when pressure drops.  (Hysteresis)

In other words:  the power to the electrolyzer is either fully ON or fully OFF.

For an electrolyzer current set to 10A (2400W), this means that the LOAD on the generator’s output (in addition to other loads) will abruptly vary by 2400W!!

Thanks to the ‘autorpm’ control circuit, RPM remains steady.

Les Banki

(Electronic Design Engineer)

Water Fuel & LBE Technologies